## College Classroom 1-2 Story
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 20000
A1010 | Foundations | 3.5% | 11.375 | 227500 | Cost Per Square Foot: | 325
A2010 | Basement Walls | 1.1% | 3.575 | 71500 | Building Cost: | 6500000
A4010 | Slab-on-Grade | 3.9% | 12.675 | 253500
B1010 | Floor Construction | 6.2% | 20.15 | 403000
B1020 | Roof Construction | 4.5% | 14.625 | 292500
B1080 | Stair Construction | 1.3% | 4.225 | 84500
B2010 | Exterior Walls | 7.9% | 25.675 | 513500
B2020 | Exterior Windows | 3.2% | 10.4 | 208000
B2050 | Exterior Doors | 2% | 6.5 | 130000
B3010 | Roofing | 4.5% | 14.625 | 292500
B3060 | Roof Openings | 0.5% | 1.625 | 32500
C1010 | Interior Walls & Windows | 7.3% | 23.725 | 474500
C1030 | Interior Doors | 2% | 6.5 | 130000
C1090 | Interior Specialties | 1.2% | 3.9 | 78000
C2010 | Wall Finishes | 4.2% | 13.65 | 273000
C2030 | Floor Finishes | 5% | 16.25 | 325000
C2050 | Ceiling Finishes | 3.3% | 10.725 | 214500
D1010 | Elevators & Lifts | 0.5% | 1.625 | 32500
D2010 | Domestic Water Distribution | 1.8% | 5.85 | 117000
D2015 | Plumbing Fixtures | 1.8% | 5.85 | 117000
D2020 | Sanitary Waste & Vent Systems | 1.6% | 5.2 | 104000
D3010 | Facility Fuel Systems | 0.9% | 2.925 | 58500
D3020 | Heating Systems | 3% | 9.75 | 195000
D3030 | Cooling Systems | 3% | 9.75 | 195000
D3041 | HVAC Air Distribution | 2.6% | 8.45 | 169000
D3042 | HVAC Hydronic & Steam Distribution | 1.8% | 5.85 | 117000
D3050 | Terminal & Package Units | 2.2% | 7.15 | 143000
D3080 | HVAC Controls & Instrumentation | 1.5% | 4.875 | 97500
D3090 | Other HVAC Systems & Equipment | 1.1% | 3.575 | 71500
D4010 | Fire Suppression Systems | 1.5% | 4.875 | 97500
D5010 | Electrical Service & Switchgear | 1.8% | 5.85 | 117000
D5020 | Electrical Distribution | 2.2% | 7.15 | 143000
D5030 | General Purpose Electrical Power | 1.8% | 5.85 | 117000
D5040 | Lighting | 2.2% | 7.15 | 143000
D6010 | Communications Systems | 1.1% | 3.575 | 71500
D7010 | Access Control & Intrusion Detection | 0.4% | 1.3 | 26000
D7020 | Video Surveillance | 0.4% | 1.3 | 26000
D7050 | Fire Detection & Alarm | 0.7% | 2.275 | 45500
E1040 | Detention Equipment | 0% | 0 | 0
E2010 | Fixed Furnishings | 4.5% | 14.625 | 292500
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 325 | 6500000

## Notes
UniFormat Code | System Name | Percentage of Total | Notes
A1010 | Foundations | 3.5% | Spread footings and grade beams for steel/concrete frame; typical share for low-rise institutional classroom buildings.
A2010 | Basement Walls | 1.1% | Partial basements or below-grade mechanical/storage spaces present in part of the portfolio.
A4010 | Slab-on-Grade | 3.9% | Main ground-level slab supporting classrooms, offices, corridors, and mechanical/electrical rooms.
B1010 | Floor Construction | 6.2% | Composite concrete slabs on metal deck for second floors and any mezzanines; significant structural component.
B1020 | Roof Construction | 4.5% | Steel roof joists and metal deck supporting insulated TPO/metal roofing over classroom and lecture volumes.
B1080 | Stair Construction | 1.3% | Interior exit stairs and convenience stairs between floors; concrete or steel pan with code-compliant railings.
B2010 | Exterior Walls | 7.9% | Brick/precast/CMU veneer and backup framing forming durable, energy-efficient academic façades.
B2020 | Exterior Windows | 3.2% | Aluminum storefront and punched classroom windows providing daylight and views.
B2050 | Exterior Doors | 2% | Insulated entrance systems, vestibule doors, and egress doors with panic hardware.
B3010 | Roofing | 4.5% | Single-ply membrane or standing-seam roofing with high-R insulation sized for Montana snow loads.
B3060 | Roof Openings | 0.5% | Roof hatches, curbs for RTUs, and penetrations for vents and stacks.
C1010 | Interior Walls & Windows | 7.3% | Metal stud/gypsum partitions for classrooms, offices, corridors, and interior glazing at offices/learning spaces.
C1030 | Interior Doors | 2% | Solid-core wood classroom and office doors with vision lites and rated doors at stairs/mechanical rooms.
C1090 | Interior Specialties | 1.2% | Markerboards, tackboards, interior signage, display cases, and miscellaneous specialties.
C2010 | Wall Finishes | 4.2% | Painted gypsum and high-durability coatings in corridors, lobbies, and classrooms.
C2030 | Floor Finishes | 5% | Carpet tile/LVT in classrooms and offices; tile or resilient in lobbies, corridors, and restrooms.
C2050 | Ceiling Finishes | 3.3% | Suspended acoustic tile ceilings (high NRC) in classrooms and corridors; gypsum ceilings at select areas.
D1010 | Elevators & Lifts | 0.5% | Passenger elevator(s) provided for accessibility in 2-story academic buildings.
D2010 | Domestic Water Distribution | 1.8% | Domestic hot/cold water piping serving restrooms, janitor closets, and limited break/tea points.
D2015 | Plumbing Fixtures | 1.8% | Low-flow fixtures in restroom cores, janitor sinks, and bottle fillers typical of college buildings.
D2020 | Sanitary Waste & Vent Systems | 1.6% | Sanitary and vent piping for restroom groups, mechanical rooms, and custodial spaces.
D3010 | Facility Fuel Systems | 0.9% | Natural gas or other fuel piping feeding boilers or heating equipment where present.
D3020 | Heating Systems | 3% | Boilers or heating sections of RTUs/air-handlers providing space heating to classrooms and offices.
D3030 | Cooling Systems | 3% | DX cooling in RTUs or central/split systems providing comfort cooling to all teaching and office spaces.
D3041 | HVAC Air Distribution | 2.6% | Main air-handling units, supply/return duct mains, and ventilation systems serving classrooms and common areas.
D3042 | HVAC Hydronic & Steam Distribution | 1.8% | Hot-water distribution piping to coils, reheat, and terminal units where hydronic heating is used.
D3050 | Terminal & Package Units | 2.2% | VAV boxes, fan coils, unit heaters, and exhaust fans serving classrooms, restrooms, and support spaces.
D3080 | HVAC Controls & Instrumentation | 1.5% | DDC/BAS controls, sensors, and actuators integrated with campus energy management.
D3090 | Other HVAC Systems & Equipment | 1.1% | ERVs, specialized exhaust, and any humidity/pressurization control for labs or special rooms.
D4010 | Fire Suppression Systems | 1.5% | Wet-pipe sprinkler system throughout academic spaces per current codes.
D5010 | Electrical Service & Switchgear | 1.8% | Main 3-phase service, switchboards, and distribution transformers for the building.
D5020 | Electrical Distribution | 2.2% | Panelboards, feeders, and distribution to classroom, office, and technology loads.
D5030 | General Purpose Electrical Power | 1.8% | Receptacles, dedicated circuits for equipment, and general power in classrooms and offices.
D5040 | Lighting | 2.2% | LED interior lighting, exterior entry lighting, and lighting controls (occupancy/daylight sensors).
D6010 | Communications Systems | 1.1% | Data/telecom cabling, IT rooms, Wi-Fi infrastructure, and classroom AV backbone.
D7010 | Access Control & Intrusion Detection | 0.4% | Card access at main entries and selected interior doors; limited intrusion detection.
D7020 | Video Surveillance | 0.4% | CCTV coverage at building entries, lobbies, and key circulation points.
D7050 | Fire Detection & Alarm | 0.7% | Addressable fire alarm system with notification appliances and detection per code.
E1040 | Detention Equipment | 0% | Typically absent – standard college classroom buildings do not require detention-grade fixtures.
E2010 | Fixed Furnishings | 4.5% | Built-in casework, teaching stations, lab counters, storage cabinets, and fixed seating in some lecture rooms.
F1050 | Swimming Pool Systems | 0% | Typically absent – pools and natatoriums are separate building types, not part of this classroom facility.
Total |  | 100% | 41