## Day Care Center
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 6000
A1010 | Foundations | 4.5% | 13.05 | 78300 | Cost Per Square Foot: | 290
A2010 | Basement Walls | 1.6% | 4.64 | 27840 | Building Cost: | 1740000
A4010 | Slab-on-Grade | 4.1% | 11.89 | 71340
B1010 | Floor Construction | 2.1% | 6.09 | 36540
B1020 | Roof Construction | 3.2% | 9.28 | 55680
B1080 | Stair Construction | 1.5% | 4.35 | 26100
B2010 | Exterior Walls | 5.6% | 16.24 | 97440
B2020 | Exterior Windows | 1.2% | 3.48 | 20880
B2050 | Exterior Doors | 1.2% | 3.48 | 20880
B3010 | Roofing | 2.7% | 7.83 | 46980
B3060 | Roof Openings | 0.4% | 1.16 | 6960
C1010 | Interior Walls & Windows | 7.7% | 22.33 | 133980
C1030 | Interior Doors | 2.1% | 6.09 | 36540
C1090 | Interior Specialties | 2.5% | 7.25 | 43500
C2010 | Wall Finishes | 1.9% | 5.51 | 33060
C2030 | Floor Finishes | 3% | 8.7 | 52200
C2050 | Ceiling Finishes | 1.6% | 4.64 | 27840
D1010 | Elevators & Lifts | 0.9% | 2.61 | 15660
D2010 | Domestic Water Distribution | 2.4% | 6.96 | 41760
D2015 | Plumbing Fixtures | 3.2% | 9.28 | 55680
D2020 | Sanitary Waste & Vent Systems | 2.5% | 7.25 | 43500
D3010 | Facility Fuel Systems | 0.5% | 1.45 | 8700
D3020 | Heating Systems | 3.7% | 10.73 | 64380
D3030 | Cooling Systems | 3% | 8.7 | 52200
D3041 | HVAC Air Distribution | 5.3% | 15.37 | 92220
D3042 | HVAC Hydronic & Steam Distribution | 1.9% | 5.51 | 33060
D3050 | Terminal & Package Units | 1.9% | 5.51 | 33060
D3080 | HVAC Controls & Instrumentation | 1.6% | 4.64 | 27840
D3090 | Other HVAC Systems & Equipment | 2.1% | 6.09 | 36540
D4010 | Fire Suppression Systems | 3.2% | 9.28 | 55680
D5010 | Electrical Service & Switchgear | 3.4% | 9.86 | 59160
D5020 | Electrical Distribution | 4.1% | 11.89 | 71340
D5030 | General Purpose Electrical Power | 2.7% | 7.83 | 46980
D5040 | Lighting | 3% | 8.7 | 52200
D6010 | Communications Systems | 1.3% | 3.77 | 22620
D7010 | Access Control & Intrusion Detection | 1.1% | 3.19 | 19140
D7020 | Video Surveillance | 0.9% | 2.61 | 15660
D7050 | Fire Detection & Alarm | 1.6% | 4.64 | 27840
E1040 | Detention Equipment | 0% | 0 | 0
E2010 | Fixed Furnishings | 2.8% | 8.12 | 48720
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 290 | 1740000

## Notes
UniFormat Code | System Name | Percentage of Total | Notes
A1010 | Foundations | 4.5% | Footings for classrooms, multipurpose areas.
A2010 | Basement Walls | 1.6% | Partial basement for storage/mechanical.
A4010 | Slab-on-Grade | 4.1% | Standard slab supporting daycare classrooms.
B1010 | Floor Construction | 2.1% | Second-floor framing, moderate spans.
B1020 | Roof Construction | 3.2% | Light steel/wood trusses; moderate snow loads.
B1080 | Stair Construction | 1.5% | Egress stairs for 2-story configuration.
B2010 | Exterior Walls | 5.6% | Brick/fiber cement mix, durable finishes.
B2020 | Exterior Windows | 1.2% | Extensive child-height classroom glazing.
B2050 | Exterior Doors | 1.2% | Secure vestibule + multiple exits.
B3010 | Roofing | 2.7% | Asphalt shingle or TPO membrane.
B3060 | Roof Openings | 0.4% | Mechanical curbs + skylights.
C1010 | Interior Walls & Windows | 7.7% | Classroom partitions, observation windows.
C1030 | Interior Doors | 2.1% | Child-safe hardware, high durability.
C1090 | Interior Specialties | 2.5% | Cubbies, child-height casework, partitions.
C2010 | Wall Finishes | 1.9% | Durable, washable interior surfaces.
C2030 | Floor Finishes | 3% | Rubber/LVT + carpet tile zones.
C2050 | Ceiling Finishes | 1.6% | ACT and GWB ceilings in various spaces.
D1010 | Elevators & Lifts | 0.9% | Required for accessibility.
D2010 | Domestic Water Distribution | 2.4% | High-density plumbing for daycare use.
D2015 | Plumbing Fixtures | 3.2% | Child-height lavs, WCs, classroom sinks.
D2020 | Sanitary Waste & Vent Systems | 2.5% | Extensive sanitary piping due to fixture count.
D3010 | Facility Fuel Systems | 0.5% | Gas supply for heating/RTUs.
D3020 | Heating Systems | 3.7% | Hot water or gas heat for classrooms.
D3030 | Cooling Systems | 3% | DX cooling for learning spaces.
D3041 | HVAC Air Distribution | 5.3% | VAV/RTU duct distribution.
D3042 | HVAC Hydronic & Steam Distribution | 1.9% | Perimeter hot-water systems.
D3050 | Terminal & Package Units | 1.9% | Fan-coils, unit heaters.
D3080 | HVAC Controls & Instrumentation | 1.6% | DDC/BAS for energy and ventilation control.
D3090 | Other HVAC Systems & Equipment | 2.1% | ERVs, kitchen exhaust, DOAS.
D4010 | Fire Suppression Systems | 3.2% | Sprinkler system throughout.
D5010 | Electrical Service & Switchgear | 3.4% | Adequate capacity for HVAC/kitchen loads.
D5020 | Electrical Distribution | 4.1% | Panels feeding classrooms + support spaces.
D5030 | General Purpose Electrical Power | 2.7% | Receptacles for learning and admin zones.
D5040 | Lighting | 3% | LED with daylight sensors.
D6010 | Communications Systems | 1.3% | Data, paging, Wi-Fi.
D7010 | Access Control & Intrusion Detection | 1.1% | Secure vestibule + controlled release.
D7020 | Video Surveillance | 0.9% | Coverage for halls, entries, play areas.
D7050 | Fire Detection & Alarm | 1.6% | Notification + smoke/heat detection.
E1040 | Detention Equipment | 0% | Typically absent.
E2010 | Fixed Furnishings | 2.8% | Cabinets, built-ins, teaching walls.
F1050 | Swimming Pool Systems | 0% | Typically absent in daycare settings.
Total |  | 100% | 41