## Dorm 1-2 Story
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 30000
A1010 | Foundations | 3.44% | 8.6 | 258000 | Cost Per Square Foot: | 250
A2010 | Basement Walls | 0.89% | 2.225 | 66750 | Building Cost: | 7500000
A4010 | Slab-on-Grade | 3.84% | 9.6 | 288000
B1010 | Floor Construction | 4.33% | 10.825 | 324750
B1020 | Roof Construction | 3.05% | 7.625 | 228750
B1080 | Stair Construction | 1.28% | 3.2 | 96000
B2010 | Exterior Walls | 6% | 15 | 450000
B2020 | Exterior Windows | 4.33% | 10.825 | 324750
B2050 | Exterior Doors | 1.67% | 4.175 | 125250
B3010 | Roofing | 3.44% | 8.6 | 258000
B3060 | Roof Openings | 0.39% | 0.975 | 29250
C1010 | Interior Walls & Windows | 5.12% | 12.8 | 384000
C1030 | Interior Doors | 2.17% | 5.425 | 162750
C1090 | Interior Specialties | 1.67% | 4.175 | 125250
C2010 | Wall Finishes | 3.44% | 8.6 | 258000
C2030 | Floor Finishes | 4.83% | 12.075 | 362250
C2050 | Ceiling Finishes | 3.44% | 8.6 | 258000
D1010 | Elevators & Lifts | 1% | 2.5 | 75000
D2010 | Domestic Water Distribution | 3% | 7.5 | 225000
D2015 | Plumbing Fixtures | 3.45% | 8.625 | 258750
D2020 | Sanitary Waste & Vent Systems | 3% | 7.5 | 225000
D3010 | Facility Fuel Systems | 0.69% | 1.725 | 51750
D3020 | Heating Systems | 3.84% | 9.6 | 288000
D3030 | Cooling Systems | 3.6% | 9 | 270000
D3041 | HVAC Air Distribution | 3.44% | 8.6 | 258000
D3042 | HVAC Hydronic & Steam Distribution | 2.17% | 5.425 | 162750
D3050 | Terminal & Package Units | 2.17% | 5.425 | 162750
D3080 | HVAC Controls & Instrumentation | 1.28% | 3.2 | 96000
D3090 | Other HVAC Systems & Equipment | 1.28% | 3.2 | 96000
D4010 | Fire Suppression Systems | 1.67% | 4.175 | 125250
D5010 | Electrical Service & Switchgear | 2.56% | 6.4 | 192000
D5020 | Electrical Distribution | 3.05% | 7.625 | 228750
D5030 | General Purpose Electrical Power | 2.17% | 5.425 | 162750
D5040 | Lighting | 2.56% | 6.4 | 192000
D6010 | Communications Systems | 1.28% | 3.2 | 96000
D7010 | Access Control & Intrusion Detection | 0.59% | 1.475 | 44250
D7020 | Video Surveillance | 0.59% | 1.475 | 44250
D7050 | Fire Detection & Alarm | 1.08% | 2.7 | 81000
E1040 | Detention Equipment | 0% | 0 | 0
E2010 | Fixed Furnishings | 2.2% | 5.5 | 165000
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 250 | 7500000

## Notes
UniFormat Code | System Name | Percentage of Total | Notes
A1010 | Foundations | 3.44% | Spread footings and grade beams for low-rise institutional residential structure.
A2010 | Basement Walls | 0.89% | Partial basements for storage and mechanical in a portion of the portfolio.
A4010 | Slab-on-Grade | 3.84% | Ground-level slab for dorm rooms, commons, and support areas.
B1010 | Floor Construction | 4.33% | Elevated floor framing or composite decks for 2nd floor and mezzanines.
B1020 | Roof Construction | 3.05% | Roof framing (trusses/joists) supporting insulated roof assembly.
B1080 | Stair Construction | 1.28% | Interior stairs for egress and circulation in 2-story dorms.
B2010 | Exterior Walls | 6% | Masonry/EIFS/fiber-cement façades typical of campus housing.
B2020 | Exterior Windows | 4.33% | Bedroom and corridor windows providing daylight and ventilation.
B2050 | Exterior Doors | 1.67% | Main entries, vestibule doors, and multiple egress doors.
B3010 | Roofing | 3.44% | Asphalt shingle or low-slope membrane roofing with high R-value insulation.
B3060 | Roof Openings | 0.39% | Roof hatches, vents, and small mechanical penetrations.
C1010 | Interior Walls & Windows | 5.12% | Partitions for sleeping rooms, corridors, lounges, and support spaces.
C1030 | Interior Doors | 2.17% | Solid-core resident room doors, fire-rated doors at stairs and shafts.
C1090 | Interior Specialties | 1.67% | Signage, mailboxes, tackboards, and miscellaneous dorm specialties.
C2010 | Wall Finishes | 3.44% | Painted gypsum and higher-abuse finishes in corridors and common spaces.
C2030 | Floor Finishes | 4.83% | Carpet tile/LVT in rooms and corridors; tile or resilient in baths and lobbies.
C2050 | Ceiling Finishes | 3.44% | ACT and gypsum ceilings in rooms, corridors, and shared spaces.
D1010 | Elevators & Lifts | 1% | Small passenger elevator for accessibility even in 2-story dorms.
D2010 | Domestic Water Distribution | 3% | Hot/cold water piping to shared bathrooms, laundry, and kitchenette areas.
D2015 | Plumbing Fixtures | 3.45% | Showers, toilets, lavatories, laundry fixtures, and janitor sinks.
D2020 | Sanitary Waste & Vent Systems | 3% | DWV systems serving stacked restrooms and laundry rooms.
D3010 | Facility Fuel Systems | 0.69% | Natural gas or other fuel service to boilers/RTUs where present.
D3020 | Heating Systems | 3.84% | Boilers or packaged heating sections serving dorm rooms and common areas.
D3030 | Cooling Systems | 3.6% | DX or chilled-water cooling for resident rooms and lounges.
D3041 | HVAC Air Distribution | 3.44% | Air handlers and duct mains serving corridors and common spaces.
D3042 | HVAC Hydronic & Steam Distribution | 2.17% | Hot-water distribution to terminal units and coils where hydronic heat is used.
D3050 | Terminal & Package Units | 2.17% | Fan-coils, PTACs/PTHPs, and unit heaters for localized conditioning.
D3080 | HVAC Controls & Instrumentation | 1.28% | DDC/BAS controls and thermostats for zones and common areas.
D3090 | Other HVAC Systems & Equipment | 1.28% | ERVs, dedicated exhaust for restrooms/laundry, small mechanical accessories.
D4010 | Fire Suppression Systems | 1.67% | Wet-pipe sprinklers typical for residential occupancies.
D5010 | Electrical Service & Switchgear | 2.56% | Main service, switchboard, and distribution transformers.
D5020 | Electrical Distribution | 3.05% | Panelboards and feeders serving resident rooms, common areas, and mechanical loads.
D5030 | General Purpose Electrical Power | 2.17% | Receptacles and circuits for room power, laundry, and support spaces.
D5040 | Lighting | 2.56% | LED lighting in rooms, corridors, and exterior entries with basic controls.
D6010 | Communications Systems | 1.28% | Data, Wi-Fi, and telecom infrastructure for resident and staff use.
D7010 | Access Control & Intrusion Detection | 0.59% | Card access at main entries and limited intrusion monitoring.
D7020 | Video Surveillance | 0.59% | Cameras at entries, lobbies, and key corridors for security.
D7050 | Fire Detection & Alarm | 1.08% | Addressable fire alarm system with notification throughout.
E1040 | Detention Equipment | 0% | Typically absent – not a detention facility.
E2010 | Fixed Furnishings | 2.2% | Built-in wardrobes, vanities, lounge casework, and reception desk elements.
F1050 | Swimming Pool Systems | 0% | Typically absent – pools are separate athletic/recreation facilities.
Total |  | 100% | 41