## Library 3+ Story
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 100000
A1010 | Foundations | 3% | 12 | 1200000 | Cost Per Square Foot: | 400
A2010 | Basement Walls | 3% | 12 | 1200000 | Building Cost: | 40000000
A4010 | Slab-on-Grade | 2.5% | 10 | 1000000
B1010 | Floor Construction | 6% | 24 | 2400000
B1020 | Roof Construction | 3.5% | 14 | 1400000
B1080 | Stair Construction | 1.8% | 7.2 | 720000
B2010 | Exterior Walls | 5.5% | 22 | 2200000
B2020 | Exterior Windows | 3.2% | 12.8 | 1280000
B2050 | Exterior Doors | 1.4% | 5.6 | 560000
B3010 | Roofing | 2.7% | 10.8 | 1080000
B3060 | Roof Openings | 0.9% | 3.6 | 360000
C1010 | Interior Walls & Windows | 5.5% | 22 | 2200000
C1030 | Interior Doors | 2.5% | 10 | 1000000
C1090 | Interior Specialties | 2% | 8 | 800000
C2010 | Wall Finishes | 3.5% | 14 | 1400000
C2030 | Floor Finishes | 4% | 16 | 1600000
C2050 | Ceiling Finishes | 2.5% | 10 | 1000000
D1010 | Elevators & Lifts | 1.6% | 6.4 | 640000
D2010 | Domestic Water Distribution | 2% | 8 | 800000
D2015 | Plumbing Fixtures | 1.9% | 7.6 | 760000
D2020 | Sanitary Waste & Vent Systems | 1.9% | 7.6 | 760000
D3010 | Facility Fuel Systems | 0.7% | 2.8 | 280000
D3020 | Heating Systems | 2.3% | 9.2 | 920000
D3030 | Cooling Systems | 2.3% | 9.2 | 920000
D3041 | HVAC Air Distribution | 2.7% | 10.8 | 1080000
D3042 | HVAC Hydronic & Steam Distribution | 2% | 8 | 800000
D3050 | Terminal & Package Units | 2.1% | 8.4 | 840000
D3080 | HVAC Controls & Instrumentation | 1.8% | 7.2 | 720000
D3090 | Other HVAC Systems & Equipment | 1.3% | 5.2 | 520000
D4010 | Fire Suppression Systems | 1.8% | 7.2 | 720000
D5010 | Electrical Service & Switchgear | 2% | 8 | 800000
D5020 | Electrical Distribution | 2.2% | 8.8 | 880000
D5030 | General Purpose Electrical Power | 2.4% | 9.6 | 960000
D5040 | Lighting | 2.9% | 11.6 | 1160000
D6010 | Communications Systems | 2.2% | 8.8 | 880000
D7010 | Access Control & Intrusion Detection | 1.1% | 4.4 | 440000
D7020 | Video Surveillance | 0.9% | 3.6 | 360000
D7050 | Fire Detection & Alarm | 1.9% | 7.6 | 760000
E1040 | Detention Equipment | 0% | 0 | 0
E2010 | Fixed Furnishings | 6.5% | 26 | 2600000
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 400 | 40000000

## Notes
UniFormat Code | System Name | Percentage of Total | Notes
A1010 | Foundations | 3% | Spread/mat footings for multi-story concrete/steel frame, sized for high stack loads and core shear walls.
A2010 | Basement Walls | 3% | Reinforced concrete basement/retaining walls for archives, storage, and mechanical spaces below grade.
A4010 | Slab-on-Grade | 2.5% | Basement/service-level slabs with vapor barrier, housekeeping pads, and equipment support.
B1010 | Floor Construction | 6% | Multi-story composite slabs designed for 150 PSF stack loads and vibration control.
B1020 | Roof Construction | 3.5% | Roof framing (joists/beams and deck) supporting snow loads, penthouse, and mechanical equipment.
B1080 | Stair Construction | 1.8% | Multiple enclosed stair towers and feature/public stairs serving 3–6 levels plus basement.
B2010 | Exterior Walls | 5.5% | Brick/precast/stone veneer with insulated backup, forming durable institutional envelope.
B2020 | Exterior Windows | 3.2% | Curtainwall and punched low-E glazing at lobbies, reading rooms, and commons for daylighting.
B2050 | Exterior Doors | 1.4% | Main entry storefront systems, secondary exits, and service doors with robust hardware.
B3010 | Roofing | 2.7% | TPO or standing-seam metal roof membrane, insulation, and drainage for low-slope and penthouse roofs.
B3060 | Roof Openings | 0.9% | Roof hatches, skylights, and curbs/penetrations for AHUs, exhaust, and piping.
C1010 | Interior Walls & Windows | 5.5% | Interior partitions and glazed walls separating reading rooms, offices, study rooms, and support spaces.
C1030 | Interior Doors | 2.5% | Solid-core and hollow-metal doors at rooms, staff areas, and services with vision lites where needed.
C1090 | Interior Specialties | 2% | Signage, guards, railings, display elements, and other specialty items typical of large public libraries.
C2010 | Wall Finishes | 3.5% | Painted gypsum, wood/metal accent panels, and durable finishes in public and staff areas.
C2030 | Floor Finishes | 4% | Carpet tile in reading areas, terrazzo/tile in lobbies, and resilient flooring in corridors and support spaces.
C2050 | Ceiling Finishes | 2.5% | Acoustic ceilings in study areas and offices; higher-end finishes or open ceilings in atriums and commons.
D1010 | Elevators & Lifts | 1.6% | Passenger and freight elevators serving basement, all public floors, and service levels.
D2010 | Domestic Water Distribution | 2% | Domestic hot/cold water and recirculation serving restrooms, janitor rooms, and café/support spaces.
D2015 | Plumbing Fixtures | 1.9% | Public and staff restroom fixtures, janitor sinks, and drinking fountains/bottle fillers on multiple floors.
D2020 | Sanitary Waste & Vent Systems | 1.9% | Sanitary piping, vents, and floor drains for stacked restrooms, mechanical rooms, and basement services.
D3010 | Facility Fuel Systems | 0.7% | Natural gas piping to boilers, RTUs, or other fuel-fired heating equipment.
D3020 | Heating Systems | 2.3% | Central hot-water or boiler plant providing space heating for a large multi-story library in cold climate.
D3030 | Cooling Systems | 2.3% | Chillers or DX/VRF systems and associated equipment for cooling reading rooms, stacks, and support areas.
D3041 | HVAC Air Distribution | 2.7% | AHUs/DOAS and duct mains distributing supply/return air to open reading rooms, stacks, and enclosed spaces.
D3042 | HVAC Hydronic & Steam Distribution | 2% | Hydronic/steam risers and distribution piping to coils, terminal units, and perimeter heating.
D3050 | Terminal & Package Units | 2.1% | VAV boxes, fan-coil units, unit heaters, and local exhaust/ventilation devices for zoned control.
D3080 | HVAC Controls & Instrumentation | 1.8% | DDC/BAS, sensors, and control valves providing scheduling, zoning, and energy management.
D3090 | Other HVAC Systems & Equipment | 1.3% | ERVs/HRVs, dedicated humidification for archives, and other specialized HVAC components.
D4010 | Fire Suppression Systems | 1.8% | NFPA 13 sprinklers throughout, including pre-action where required for archives/special collections.
D5010 | Electrical Service & Switchgear | 2% | Main service entrance, switchgear, and transformers sized for lighting, HVAC, and technology loads.
D5020 | Electrical Distribution | 2.2% | Distribution panels, risers, and feeders delivering power to all floors and mechanical areas.
D5030 | General Purpose Electrical Power | 2.4% | Branch circuits and receptacles for stacks, study carrels, computer labs, offices, and support spaces.
D5040 | Lighting | 2.9% | Interior and exterior LED lighting systems with controls tailored to reading, stack, and public areas.
D6010 | Communications Systems | 2.2% | Data, Wi-Fi, and AV infrastructure for public computers, collaboration spaces, and staff IT systems.
D7010 | Access Control & Intrusion Detection | 1.1% | Card access and intrusion detection for staff areas, IT rooms, and select perimeter doors.
D7020 | Video Surveillance | 0.9% | CCTV coverage at entries, lobbies, key circulation points, and exterior approaches.
D7050 | Fire Detection & Alarm | 1.9% | Addressable fire alarm with detection, notification, and HVAC interface across all stories and basement.
E1040 | Detention Equipment | 0% | Typically absent – institutional libraries do not require detention-grade security equipment.
E2010 | Fixed Furnishings | 6.5% | Built-in stacks, circulation desks, counters, fixed seating, and casework; major library cost component.
F1050 | Swimming Pool Systems | 0% | Typically absent – library prototype does not include pool or natatorium systems.
Total |  | 100% | 41