## School K-12
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 75000
A1010 | Foundations | 2.8% | 10.08 | 756000 | Cost Per Square Foot: | 360
A2010 | Basement Walls | 1.5% | 5.4 | 405000 | Building Cost: | 27000000
A4010 | Slab-on-Grade | 2.8% | 10.08 | 756000
B1010 | Floor Construction | 4% | 14.4 | 1080000
B1020 | Roof Construction | 4.1% | 14.76 | 1107000
B1080 | Stair Construction | 1% | 3.6 | 270000
B2010 | Exterior Walls | 5.8% | 20.88 | 1566000
B2020 | Exterior Windows | 3.3% | 11.88 | 891000
B2050 | Exterior Doors | 1% | 3.6 | 270000
B3010 | Roofing | 4.9% | 17.64 | 1323000
B3060 | Roof Openings | 0.5% | 1.8 | 135000
C1010 | Interior Walls & Windows | 5% | 18 | 1350000
C1030 | Interior Doors | 1.8% | 6.48 | 486000
C1090 | Interior Specialties | 1.8% | 6.48 | 486000
C2010 | Wall Finishes | 3% | 10.8 | 810000
C2030 | Floor Finishes | 4% | 14.4 | 1080000
C2050 | Ceiling Finishes | 3% | 10.8 | 810000
D1010 | Elevators & Lifts | 1% | 3.6 | 270000
D2010 | Domestic Water Distribution | 2.2% | 7.92 | 594000
D2015 | Plumbing Fixtures | 3.5% | 12.6 | 945000
D2020 | Sanitary Waste & Vent Systems | 2.5% | 9 | 675000
D3010 | Facility Fuel Systems | 0.6% | 2.16 | 162000
D3020 | Heating Systems | 3.5% | 12.6 | 945000
D3030 | Cooling Systems | 3% | 10.8 | 810000
D3041 | HVAC Air Distribution | 4% | 14.4 | 1080000
D3042 | HVAC Hydronic & Steam Distribution | 2.5% | 9 | 675000
D3050 | Terminal & Package Units | 3.5% | 12.6 | 945000
D3080 | HVAC Controls & Instrumentation | 2% | 7.2 | 540000
D3090 | Other HVAC Systems & Equipment | 1% | 3.6 | 270000
D4010 | Fire Suppression Systems | 2% | 7.2 | 540000
D5010 | Electrical Service & Switchgear | 1.8% | 6.48 | 486000
D5020 | Electrical Distribution | 2.8% | 10.08 | 756000
D5030 | General Purpose Electrical Power | 2.5% | 9 | 675000
D5040 | Lighting | 3.5% | 12.6 | 945000
D6010 | Communications Systems | 2.5% | 9 | 675000
D7010 | Access Control & Intrusion Detection | 1% | 3.6 | 270000
D7020 | Video Surveillance | 0.7% | 2.52 | 189000
D7050 | Fire Detection & Alarm | 1.8% | 6.48 | 486000
E1040 | Detention Equipment | 0% | 0 | 0
E2010 | Fixed Furnishings | 1.8% | 6.48 | 486000
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 360 | 27000000

## Notes
UniFormat Code | System Name | Percentage of Total | Notes
A1010 | Foundations | 2.8% | Spread footings for multi-wing 1–3 story school and utility basement; sized for MT frost depth and gym/aud loads.
A2010 | Basement Walls | 1.5% | Concrete retaining walls enclosing utility basement with mech/electrical and storage only.
A4010 | Slab-on-Grade | 2.8% | Thickened slabs under classrooms, corridors, gym, cafeteria, and basement equipment pads.
B1010 | Floor Construction | 4% | Elevated composite decks or framed floors for 2–3 story academic wings and mezzanines.
B1020 | Roof Construction | 4.1% | Long-span joists and deck over gym/auditorium plus standard roof over classroom wings.
B1080 | Stair Construction | 1% | Enclosed egress stairs in multistory wings and limited interior convenience stairs.
B2010 | Exterior Walls | 5.8% | Masonry/CMU or precast exterior with insulation and air barrier for durable K–12 envelope.
B2020 | Exterior Windows | 3.3% | High-performance aluminum windows and classroom glazing for daylighting and views.
B2050 | Exterior Doors | 1% | Numerous hollow-metal exit doors at classrooms, gyms, and service entries with panic hardware.
B3010 | Roofing | 4.9% | Extensive low-slope TPO or metal roofs over large footprint, detailed for snow and drainage.
B3060 | Roof Openings | 0.5% | Roof hatches, smoke vents, and skylights/clerestories at gyms and commons.
C1010 | Interior Walls & Windows | 5% | CMU and GWB partitions for classrooms, labs, offices, and interior glazing at supervision zones.
C1030 | Interior Doors | 1.8% | Solid-core doors with vision lites at classrooms and rated doors at core and service spaces.
C1090 | Interior Specialties | 1.8% | Lockers, toilet partitions, marker boards, signage, and wall/edge protection typical of schools.
C2010 | Wall Finishes | 3% | Painted CMU and GWB, durable coatings in corridors, and higher-finish feature walls in commons.
C2030 | Floor Finishes | 4% | Carpet tile in classrooms, resilient/terrazzo in corridors and cafeteria, wood/sport floor in gym.
C2050 | Ceiling Finishes | 3% | ACT ceilings in classrooms and offices, partial acoustical treatment in corridors and commons.
D1010 | Elevators & Lifts | 1% | Passenger elevator for multistory accessibility and limited service/ADA lift use.
D2010 | Domestic Water Distribution | 2.2% | Domestic water piping, heaters, and recirc serving dense restrooms, locker rooms, and labs.
D2015 | Plumbing Fixtures | 3.5% | High count of student/staff fixtures, locker room showers, and classroom/lab sinks.
D2020 | Sanitary Waste & Vent Systems | 2.5% | Sanitary stacks and vents for distributed restrooms, locker rooms, and kitchen/custodial areas.
D3010 | Facility Fuel Systems | 0.6% | Gas/propane distribution to boilers, rooftop units, and kitchen equipment where applicable.
D3020 | Heating Systems | 3.5% | Central boilers or heat sources sized for MT climate and gym/commons air volumes.
D3030 | Cooling Systems | 3% | Chillers, DX systems, or geothermal plants providing full-building classroom and commons cooling.
D3041 | HVAC Air Distribution | 4% | Main ductwork from RTUs/DOAS serving classrooms, labs, gym, auditorium, and cafeteria.
D3042 | HVAC Hydronic & Steam Distribution | 2.5% | Hot/chilled water distribution to coils, unit ventilators, and reheat terminals.
D3050 | Terminal & Package Units | 3.5% | VAV boxes, unit ventilators, fan-coils, and local exhaust/MAUs in gyms, kitchens, and labs.
D3080 | HVAC Controls & Instrumentation | 2% | BAS/DDC network, sensors, and actuators for zone scheduling, IAQ control, and energy recovery.
D3090 | Other HVAC Systems & Equipment | 1% | Lab exhaust, kitchen hoods, specialty make-up air, and dedicated dehumidification where needed.
D4010 | Fire Suppression Systems | 2% | NFPA 13 sprinklers throughout, including gym, auditorium, and utility basement; standpipes as required.
D5010 | Electrical Service & Switchgear | 1.8% | Main service, switchgear, and any generator connection for life safety and critical school loads.
D5020 | Electrical Distribution | 2.8% | Panelboards, feeders, and risers serving classrooms, labs, commons, and athletic areas.
D5030 | General Purpose Electrical Power | 2.5% | Receptacles and branch circuits for teaching walls, student devices, office, and kitchen equipment.
D5040 | Lighting | 3.5% | Interior/exterior LED lighting with controls for classrooms, gyms, auditorium, and site.
D6010 | Communications Systems | 2.5% | Data cabling, Wi-Fi, intercom/PA, classroom AV, and MDF/IDF room equipment.
D7010 | Access Control & Intrusion Detection | 1% | Controlled secure vestibule entry, card access at key doors, and intrusion contacts for security.
D7020 | Video Surveillance | 0.7% | CCTV coverage at entries, corridors, parking, and bus/parent drop-off areas.
D7050 | Fire Detection & Alarm | 1.8% | Addressable fire alarm system with detection, notification, and integration with egress and HVAC.
E1040 | Detention Equipment | 0% | Typically absent; not a detention or justice facility.
E2010 | Fixed Furnishings | 1.8% | Built-in classroom casework, lab benches, library shelving, and reception/admin millwork.
F1050 | Swimming Pool Systems | 0% | Typically absent; natatoriums are treated as separate athletic facilities.
Total |  | 100% | 41