## Vocational School
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 100000
A1010 | Foundations | 2.3% | 7.705 | 770500 | Cost Per Square Foot: | 335
A2010 | Basement Walls | 1.5% | 5.025 | 502500 | Building Cost: | 33500000
A4010 | Slab-on-Grade | 2.4% | 8.04 | 804000
B1010 | Floor Construction | 2.5% | 8.375 | 837500
B1020 | Roof Construction | 3.5% | 11.725 | 1172500
B1080 | Stair Construction | 0.8% | 2.68 | 268000
B2010 | Exterior Walls | 6% | 20.1 | 2010000
B2020 | Exterior Windows | 2.8% | 9.38 | 938000
B2050 | Exterior Doors | 1.2% | 4.02 | 402000
B3010 | Roofing | 3.5% | 11.725 | 1172500
B3060 | Roof Openings | 0.5% | 1.675 | 167500
C1010 | Interior Walls & Windows | 4.5% | 15.075 | 1507500
C1030 | Interior Doors | 2% | 6.7 | 670000
C1090 | Interior Specialties | 2% | 6.7 | 670000
C2010 | Wall Finishes | 3% | 10.05 | 1005000
C2030 | Floor Finishes | 3.5% | 11.725 | 1172500
C2050 | Ceiling Finishes | 2% | 6.7 | 670000
D1010 | Elevators & Lifts | 2% | 6.7 | 670000
D2010 | Domestic Water Distribution | 2.8% | 9.38 | 938000
D2015 | Plumbing Fixtures | 3% | 10.05 | 1005000
D2020 | Sanitary Waste & Vent Systems | 2.2% | 7.37 | 737000
D3010 | Facility Fuel Systems | 1.2% | 4.02 | 402000
D3020 | Heating Systems | 4% | 13.4 | 1340000
D3030 | Cooling Systems | 3.8% | 12.73 | 1273000
D3041 | HVAC Air Distribution | 4% | 13.4 | 1340000
D3042 | HVAC Hydronic & Steam Distribution | 2.5% | 8.375 | 837500
D3050 | Terminal & Package Units | 3.5% | 11.725 | 1172500
D3080 | HVAC Controls & Instrumentation | 2.4% | 8.04 | 804000
D3090 | Other HVAC Systems & Equipment | 1.6% | 5.36 | 536000
D4010 | Fire Suppression Systems | 2% | 6.7 | 670000
D5010 | Electrical Service & Switchgear | 2.5% | 8.375 | 837500
D5020 | Electrical Distribution | 3% | 10.05 | 1005000
D5030 | General Purpose Electrical Power | 2% | 6.7 | 670000
D5040 | Lighting | 3.5% | 11.725 | 1172500
D6010 | Communications Systems | 2.5% | 8.375 | 837500
D7010 | Access Control & Intrusion Detection | 0.9% | 3.015 | 301500
D7020 | Video Surveillance | 0.6% | 2.01 | 201000
D7050 | Fire Detection & Alarm | 1.5% | 5.025 | 502500
E1040 | Detention Equipment | 0% | 0 | 0
E2010 | Fixed Furnishings | 4.5% | 15.075 | 1507500
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 335 | 33500000

## Notes
UniFormat Code | System Name | Percentage of Total | Notes
A1010 | Foundations | 2.3% | Reinforced spread footings/mats for 1–3 story steel frame and high-bay shops; sized for MT frost depth and heavy equipment loads
A2010 | Basement Walls | 1.5% | Concrete retaining walls for partially programmed basement with some labs/support plus MEP rooms.
A4010 | Slab-on-Grade | 2.4% | Industrial slabs with thickened sections, trench drains, and pads at shop equipment and yards.
B1010 | Floor Construction | 2.5% | Composite floors in any multistory academic wings, designed for 50–150 PSF loads.
B1020 | Roof Construction | 3.5% | Long-span steel joists/PEMB frames over shops and labs, supporting heavy snow and mechanical loads.
B1080 | Stair Construction | 0.8% | Enclosed code stairs and limited interior stairs serving 1–3 stories plus partial basement.
B2010 | Exterior Walls | 6% | CMU plinth with IMP/precast above; high-abuse exterior envelope for shop environment and yards.
B2020 | Exterior Windows | 2.8% | Classroom and commons glazing with limited shop windows for safety and glare control.
B2050 | Exterior Doors | 1.2% | Numerous man doors and OH door frames at shops, yards, and dock entries with durable hardware.
B3010 | Roofing | 3.5% | Large low-slope TPO/PVC and some sloped metal roofing with high insulation for MT climate.
B3060 | Roof Openings | 0.5% | Roof penetrations for MAUs, exhaust stacks, dust collectors, and roof access hatches.
C1010 | Interior Walls & Windows | 4.5% | CMU and abuse-resistant GWB partitions for shops, labs, classrooms, offices, and viewing windows.
C1030 | Interior Doors | 2% | Heavy-duty doors at shops and storage plus standard doors at classrooms, labs, and offices.
C1090 | Interior Specialties | 2% | Lockers, tool cages, safety signage, guardrails, and other high-abuse specialties in training areas.
C2010 | Wall Finishes | 3% | Painted CMU, washable coatings, and protective wainscots in labs, shops, and corridors.
C2030 | Floor Finishes | 3.5% | Epoxy/urethane in shops, sealed concrete in labs, resilient/LVT in classrooms and commons.
C2050 | Ceiling Finishes | 2% | ACT in classrooms/commons and limited acoustical treatments where shop ceilings are exposed.
D1010 | Elevators & Lifts | 2% | Passenger elevator for accessibility plus potential freight/service lift for equipment and materials.
D2010 | Domestic Water Distribution | 2.8% | Domestic water mains, branches, and heaters serving restrooms, labs, custodial, and culinary spaces.
D2015 | Plumbing Fixtures | 3% | High fixture counts in student/staff restrooms, showers (if provided), eye wash, and lab/culinary sinks.
D2020 | Sanitary Waste & Vent Systems | 2.2% | DWV for restrooms, labs, shops, kitchen, oil-water separators, and other process drains.
D3010 | Facility Fuel Systems | 1.2% | Gas piping to boilers, MAUs, unit heaters, culinary kitchens, and training rigs.
D3020 | Heating Systems | 4% | Central boilers or other heat sources sized for large shop volumes and MT winter conditions.
D3030 | Cooling Systems | 3.8% | Chillers/DX plants and remote condensers serving classrooms, offices, labs, and selected shops.
D3041 | HVAC Air Distribution | 4% | Main ductwork, MAUs, and distribution for classrooms plus makeup and general ventilation air for shops.
D3042 | HVAC Hydronic & Steam Distribution | 2.5% | Hydronic piping loops feeding coils, unit heaters, and radiant panels where used.
D3050 | Terminal & Package Units | 3.5% | VAV/fan-coil units, unit heaters, radiant tubes, and local exhaust fans in shops and labs.
D3080 | HVAC Controls & Instrumentation | 2.4% | BAS/DDC with scheduling, interlocks, and monitoring for MAUs, exhaust, gas shutoffs, and zone control.
D3090 | Other HVAC Systems & Equipment | 1.6% | Process exhaust, dust collection interfaces, specialty hoods, and any shop-specific ventilation equipment.
D4010 | Fire Suppression Systems | 2% | NFPA 13 sprinklers, OH2 design in shops, and potential special suppression for IT/server spaces.
D5010 | Electrical Service & Switchgear | 2.5% | High-capacity 3ϕ service, switchgear, and distribution to large mechanical and shop loads.
D5020 | Electrical Distribution | 3% | Feeders, panelboards, bus, and lab/shop distribution for welding, CNC, and heavy equipment.
D5030 | General Purpose Electrical Power | 2% | Receptacles, tool power, cord reels, and dedicated outlets at benches and teaching walls.
D5040 | Lighting | 3.5% | LED high-bay lighting in shops and standard/dimmable lighting in classrooms, labs, and commons.
D6010 | Communications Systems | 2.5% | Data cabling, Wi-Fi, AV infrastructure, and device charging to support technology-rich training.
D7010 | Access Control & Intrusion Detection | 0.9% | Card access at main entries, labs, and tool rooms plus basic intrusion detection at key openings.
D7020 | Video Surveillance | 0.6% | CCTV coverage at entries, shops, yards, loading, and main circulation routes.
D7050 | Fire Detection & Alarm | 1.5% | Addressable fire alarm, detection in shops, hood/gas interlocks, and code-required notification.
E1040 | Detention Equipment | 0% | Typically absent; facility is an educational/training center, not a detention or justice building.
E2010 | Fixed Furnishings | 4.5% | Built-in lab benches, racks, tool storage, casework, and fixed workstations in shops and classrooms.
F1050 | Swimming Pool Systems | 0% | Typically absent; vocational training center does not include natatorium or pool systems.
Total |  | 100% | 41