## Acute Psychiatric Hospital MSH
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 80000
A1010 | Foundations | 2% | 11 | 880000 | Cost Per Square Foot: | 550
A2010 | Basement Walls | 0.3% | 1.65 | 132000 | Building Cost: | 44000000
A4010 | Slab-on-Grade | 2.2% | 12.1 | 968000
B1010 | Floor Construction | 3.7% | 20.35 | 1628000
B1020 | Roof Construction | 2.8% | 15.4 | 1232000
B1080 | Stair Construction | 1.1% | 6.05 | 484000
B2010 | Exterior Walls | 5.3% | 29.15 | 2332000
B2020 | Exterior Windows | 3.2% | 17.6 | 1408000
B2050 | Exterior Doors | 1.1% | 6.05 | 484000
B3010 | Roofing | 3.7% | 20.35 | 1628000
B3060 | Roof Openings | 0.7% | 3.85 | 308000
C1010 | Interior Walls & Windows | 4.6% | 25.3 | 2024000
C1030 | Interior Doors | 2% | 11 | 880000
C1090 | Interior Specialties | 2.1% | 11.55 | 924000
C2010 | Wall Finishes | 2.9% | 15.95 | 1276000
C2030 | Floor Finishes | 3.3% | 18.15 | 1452000
C2050 | Ceiling Finishes | 3% | 16.5 | 1320000
D1010 | Elevators & Lifts | 1.7% | 9.35 | 748000
D2010 | Domestic Water Distribution | 2.6% | 14.3 | 1144000
D2015 | Plumbing Fixtures | 2.9% | 15.95 | 1276000
D2020 | Sanitary Waste & Vent Systems | 2.6% | 14.3 | 1144000
D3010 | Facility Fuel Systems | 0.9% | 4.95 | 396000
D3020 | Heating Systems | 3.7% | 20.35 | 1628000
D3030 | Cooling Systems | 3.7% | 20.35 | 1628000
D3041 | HVAC Air Distribution | 3.3% | 18.15 | 1452000
D3042 | HVAC Hydronic & Steam Distribution | 2.6% | 14.3 | 1144000
D3050 | Terminal & Package Units | 3.3% | 18.15 | 1452000
D3080 | HVAC Controls & Instrumentation | 2.1% | 11.55 | 924000
D3090 | Other HVAC Systems & Equipment | 2.7% | 14.85 | 1188000
D4010 | Fire Suppression Systems | 2.4% | 13.2 | 1056000
D5010 | Electrical Service & Switchgear | 2% | 11 | 880000
D5020 | Electrical Distribution | 2.6% | 14.3 | 1144000
D5030 | General Purpose Electrical Power | 2.6% | 14.3 | 1144000
D5040 | Lighting | 2.9% | 15.95 | 1276000
D6010 | Communications Systems | 2.1% | 11.55 | 924000
D7010 | Access Control & Intrusion Detection | 1.6% | 8.8 | 704000
D7020 | Video Surveillance | 1.2% | 6.6 | 528000
D7050 | Fire Detection & Alarm | 2% | 11 | 880000
E1040 | Detention Equipment | 2.5% | 13.75 | 1100000
E2010 | Fixed Furnishings | 2% | 11 | 880000
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 550 | 44000000

## Notes
UniFormat Code | System Name | Percentage of Total | Notes
A1010 | Foundations | 2.3% | Spread/mat foundations for 1–3 story I-2 behavioral health hospital, sized for snow, wind, and mechanical penthouse loads
A2010 | Basement Walls | 0% | No basement in typical low-rise configuration; below-grade retaining walls are not provided. Typically absent.
A4010 | Slab-on-Grade | 2.2% | Reinforced slabs-on-grade at patient units, treatment areas, kitchen, and support spaces with depressions, pads, and trench drains at soiled utility and laundry.
B1010 | Floor Construction | 3.7% | Elevated concrete/composite decks for multi-story units and mechanical/service levels, including fireproofing and structural infill around shafts.
B1020 | Roof Construction | 2.8% | Steel joists and metal deck framing for high-load roof supporting snow, penthouses, and screened mechanical units.
B1080 | Stair Construction | 1.1% | Multiple enclosed rated stairs serving patient pods, treatment zones, and staff circulation, plus limited feature stairs in public/admin areas.
B2010 | Exterior Walls | 5.5% | CMU / precast or brick veneer over backup walls, with robust air/vapor barrier and insulation for secure, durable enclosure.
B2020 | Exterior Windows | 3.2% | Limited punched openings with secure, non-operable behavioral-health-rated glazing for patient and dayroom areas.
B2050 | Exterior Doors | 1.1% | Secure storefront entries and multiple controlled egress doors with heavy-duty hardware and vestibules.
B3010 | Roofing | 3.7% | Single-ply TPO/PVC roofing with high R-value insulation, snow-retention, and heat-traced drainage over a complex roof plan.
B3060 | Roof Openings | 0.7% | Numerous openings for AHU curbs, exhaust, DOAS, roof hatches, and skylights/clerestories in therapy or day spaces.
C1010 | Interior Walls & Windows | 4.6% | Extensive partitions forming patient rooms, pods, seclusion rooms, therapy areas, and staff zones; includes interior security glazing at nurse stations and observation points.
C1030 | Interior Doors | 2% | Solid-core institutional doors with ligature-resistant hardware, observation lites, and high-cycle use at patient and treatment areas.
C1090 | Interior Specialties | 2.1% | Toilet partitions, grab bars, wall guards, safety signage, lockers, and protective systems in high-abuse behavioral-health corridors and units.
C2010 | Wall Finishes | 2.9% | Epoxy or high-abuse coatings on CMU/GWB in patient and seclusion areas; durable paint in admin; integral acoustic wall panels in therapy and group rooms.
C2030 | Floor Finishes | 3.3% | Seamless resilient and epoxy in patient units and seclusion, slip-resistant finishes in baths, and carpet tile or LVT in administration and conferencing.
C2050 | Ceiling Finishes | 3% | Security-rated ceilings (tamper-resistant, anti-ligature) in patient areas, with ACT ceilings in offices and support spaces for acoustic control.
D1010 | Elevators & Lifts | 1.7% | Passenger and service elevators supporting patient transport, stretcher movement, and materials flow between floors.
D2010 | Domestic Water Distribution | 2.6% | Extensive hot/cold water distribution, heaters, pumps, and recirc for patient rooms, baths, therapy, kitchen, and laundry with stringent temperature control.
D2015 | Plumbing Fixtures | 2.9% | High count of anti-ligature toilets, lavs, showers, clinical sinks, service sinks, and bottle fillers across units, treatment, kitchen, and support.
D2020 | Sanitary Waste & Vent Systems | 2.6% | Sanitary piping, vents, floor drains, and ejectors serving dense fixture groups, seclusion rooms, kitchen, and soiled utility.
D3010 | Facility Fuel Systems | 0.9% | Fuel gas/oil distribution to boilers, water heaters, emergency generator, and some kitchen/process appliances.
D3020 | Heating Systems | 3.7% | Central heating plant (boilers or equivalent) sized for Zone 6–7 climate, continuous operation, and redundancy for critical patient-care loads.
D3030 | Cooling Systems | 3.7% | Chillers, condensing units, or central DX systems providing full-building cooling for patient comfort, treatment, and equipment rooms.
D3041 | HVAC Air Distribution | 3.3% | Large AHUs and duct mains serving patient units, treatment areas, intake, and high-exhaust functions with controlled airflow patterns.
D3042 | HVAC Hydronic & Steam Distribution | 2.6% | Hydronic distribution to terminal reheat, perimeter radiation, and fan-coils used to manage comfort and envelope losses.
D3050 | Terminal & Package Units | 3.3% | VAV boxes, fan-coils, unit heaters, cabinet heaters, and localized exhaust fans serving patient rooms, support spaces, and mechanical zones.
D3080 | HVAC Controls & Instrumentation | 2.1% | BAS/DDC network, sensors, and actuators providing secure scheduling, monitoring, pressure relationships, and alarmed control of HVAC.
D3090 | Other HVAC Systems & Equipment | 2.7% | Specialized exhaust and pressurization for seclusion, isolation, soiled utility, med gas rooms, and ERV/HRV units for high-ventilation zones.
D4010 | Fire Suppression Systems | 2.4% | NFPA 13 sprinklers and standpipes throughout, with potential pre-action or clean-agent systems in IT and critical equipment spaces.
D5010 | Electrical Service & Switchgear | 2% | Medium/large 480/277 V service, main switchgear, and feeds to risers, emergency systems, and large mechanical loads.
D5020 | Electrical Distribution | 2.6% | Panelboards, feeders, and risers distributing power to patient units, treatment, kitchen, and mechanical/electrical rooms.
D5030 | General Purpose Electrical Power | 2.6% | Branch circuits and receptacles for medical equipment, staff workstations, med rooms, laundry, kitchen, and general outlets.
D5040 | Lighting | 2.9% | Tamper-resistant LED lighting in patient areas, soft indirect lighting in dayrooms, exam/task lighting in clinical spaces, and exterior/site lighting.
D6010 | Communications Systems | 2.1% | Structured cabling, telecom, data, nurse-call backbones, intercom/paging, and AV infrastructure supporting clinical operations and security.
D7010 | Access Control & Intrusion Detection | 1.6% | Electronic access control at unit doors, sally ports, pharmacy, med rooms, and secure perimeter openings with intrusion monitoring.
D7020 | Video Surveillance | 1.2% | Extensive CCTV coverage at entries, corridors, dayrooms, seclusion rooms (as allowed), and outdoor yards with monitored head-end.
D7050 | Fire Detection & Alarm | 2% | Addressable voice-evac fire alarm with full detection, integration with HVAC shutdown, smoke compartments, and elevator recall.
E1040 | Detention Equipment | 2.5% | Behavioral-health-grade security components: detention/anti-ligature doors and hardware, security glazing, fixed tamper-resistant furniture in seclusion and high-risk areas.
E2010 | Fixed Furnishings | 2% | Built-in casework at nurse stations, medication rooms, labs, staff support, and integrated behavioral-health-rated millwork and storage.
F1050 | Swimming Pool Systems | 0% | No natatorium or therapeutic pool included in the typical acute behavioral health hospital program. Typically absent.
Total |  | 100.2% | 41

## Acute Psychiatric Hospital (2)
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 80000
A1010 | Foundations | 2% | 11 | 880000 | Cost Per Square Foot: | 550
A2010 | Basement Walls | 0.3% | 1.65 | 132000 | Building Cost: | 44000000
A4010 | Slab-on-Grade | 2.2% | 12.1 | 968000
B1010 | Floor Construction | 3.7% | 20.35 | 1628000
B1020 | Roof Construction | 2.8% | 15.4 | 1232000
B1080 | Stair Construction | 1.1% | 6.05 | 484000
B2010 | Exterior Walls | 5.3% | 29.15 | 2332000
B2020 | Exterior Windows | 3.2% | 17.6 | 1408000
B2050 | Exterior Doors | 1.1% | 6.05 | 484000
B3010 | Roofing | 3.7% | 20.35 | 1628000
B3060 | Roof Openings | 0.7% | 3.85 | 308000
C1010 | Interior Walls & Windows | 4.6% | 25.3 | 2024000
C1030 | Interior Doors | 2% | 11 | 880000
C1090 | Interior Specialties | 2.1% | 11.55 | 924000
C2010 | Wall Finishes | 2.9% | 15.95 | 1276000
C2030 | Floor Finishes | 3.3% | 18.15 | 1452000
C2050 | Ceiling Finishes | 3% | 16.5 | 1320000
D1010 | Elevators & Lifts | 1.7% | 9.35 | 748000
D2010 | Domestic Water Distribution | 2.6% | 14.3 | 1144000
D2015 | Plumbing Fixtures | 2.9% | 15.95 | 1276000
D2020 | Sanitary Waste & Vent Systems | 2.6% | 14.3 | 1144000
D3010 | Facility Fuel Systems | 0.9% | 4.95 | 396000
D3020 | Heating Systems | 3.7% | 20.35 | 1628000
D3030 | Cooling Systems | 3.7% | 20.35 | 1628000
D3041 | HVAC Air Distribution | 3.3% | 18.15 | 1452000
D3042 | HVAC Hydronic & Steam Distribution | 2.6% | 14.3 | 1144000
D3050 | Terminal & Package Units | 3.3% | 18.15 | 1452000
D3080 | HVAC Controls & Instrumentation | 2.1% | 11.55 | 924000
D3090 | Other HVAC Systems & Equipment | 2.7% | 14.85 | 1188000
D4010 | Fire Suppression Systems | 2.4% | 13.2 | 1056000
D5010 | Electrical Service & Switchgear | 2% | 11 | 880000
D5020 | Electrical Distribution | 2.6% | 14.3 | 1144000
D5030 | General Purpose Electrical Power | 2.6% | 14.3 | 1144000
D5040 | Lighting | 2.9% | 15.95 | 1276000
D6010 | Communications Systems | 2.1% | 11.55 | 924000
D7010 | Access Control & Intrusion Detection | 1.6% | 8.8 | 704000
D7020 | Video Surveillance | 1.2% | 6.6 | 528000
D7050 | Fire Detection & Alarm | 2% | 11 | 880000
E1040 | Detention Equipment | 2.5% | 13.75 | 1100000
E2010 | Fixed Furnishings | 2% | 11 | 880000
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 550 | 44000000

## Sheet2
2.3
2.2
3.7
2.8
1.1
5.5
3.2
1.1
3.7
0.7
4.6
2
2.1
2.9
3.3
3
1.7
2.6
2.9
2.6
0.9
3.7
3.7
3.3
2.6
3.3
2.1
2.7
2.4
2
2.6
2.6
2.9
2.1
1.6
1.2
2
2.5
2