## Apartment 3+ Story
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 50000
A1010 | Foundations | 4.2% | 14.7 | 735000 | Cost Per Square Foot: | 350
A2010 | Basement Walls | 1% | 3.5 | 175000 | Building Cost: | 17500000
A4010 | Slab-on-Grade | 2.8% | 9.8 | 490000
B1010 | Floor Construction | 6% | 21 | 1050000
B1020 | Roof Construction | 4% | 14 | 700000
B1080 | Stair Construction | 2% | 7 | 350000
B2010 | Exterior Walls | 5% | 17.5 | 875000
B2020 | Exterior Windows | 2% | 7 | 350000
B2050 | Exterior Doors | 1% | 3.5 | 175000
B3010 | Roofing | 1.7% | 5.95 | 297500
B3060 | Roof Openings | 0.3% | 1.05 | 52500
C1010 | Interior Walls & Windows | 7.5% | 26.25 | 1312500
C1030 | Interior Doors | 3.5% | 12.25 | 612500
C1090 | Interior Specialties | 1.8% | 6.3 | 315000
C2010 | Wall Finishes | 5% | 17.5 | 875000
C2030 | Floor Finishes | 4.5% | 15.75 | 787500
C2050 | Ceiling Finishes | 1.7% | 5.95 | 297500
D1010 | Elevators & Lifts | 2.7% | 9.45 | 472500
D2010 | Domestic Water Distribution | 3% | 10.5 | 525000
D2015 | Plumbing Fixtures | 3.6% | 12.6 | 630000
D2020 | Sanitary Waste & Vent Systems | 3% | 10.5 | 525000
D3010 | Facility Fuel Systems | 1% | 3.5 | 175000
D3020 | Heating Systems | 2.6% | 9.1 | 455000
D3030 | Cooling Systems | 2.7% | 9.45 | 472500
D3041 | HVAC Air Distribution | 2.7% | 9.45 | 472500
D3042 | HVAC Hydronic & Steam Distribution | 1.5% | 5.25 | 262500
D3050 | Terminal & Package Units | 2.5% | 8.75 | 437500
D3080 | HVAC Controls & Instrumentation | 1.3% | 4.55 | 227500
D3090 | Other HVAC Systems & Equipment | 1.2% | 4.2 | 210000
D4010 | Fire Suppression Systems | 3.1% | 10.85 | 542500
D5010 | Electrical Service & Switchgear | 2% | 7 | 350000
D5020 | Electrical Distribution | 3.1% | 10.85 | 542500
D5030 | General Purpose Electrical Power | 2.4% | 8.4 | 420000
D5040 | Lighting | 2.7% | 9.45 | 472500
D6010 | Communications Systems | 0.9% | 3.15 | 157500
D7010 | Access Control & Intrusion Detection | 0.5% | 1.75 | 87500
D7020 | Video Surveillance | 0.4% | 1.4 | 70000
D7050 | Fire Detection & Alarm | 1.1% | 3.85 | 192500
E1040 | Detention Equipment | 0% | 0 | 0
E2010 | Fixed Furnishings | 2% | 7 | 350000
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 350 | 17500000

## Notes
UniFormat Code | System Name | Percentage of Total | Notes
A1010 | Foundations | 4.2% | Spread/mat footings and foundation walls for mid-rise wood/podium structures; higher than low-rise due to height.
A2010 | Basement Walls | 1% | Allows for partial basements or foundation walls used for storage/mechanical in a portion of the portfolio.
A4010 | Slab-on-Grade | 2.8% | Ground-level slabs for residential and podium-support spaces; no integrated parking structures.
B1010 | Floor Construction | 6% | Multiple elevated wood/composite floor systems for 3–6 stories of dwelling units and corridors.
B1020 | Roof Construction | 4% | Roof framing (trusses/joists) supporting low-slope roofs over mid-rise volumes.
B1080 | Stair Construction | 2% | Enclosed stair towers and any exterior egress stairs serving multiple residential levels.
B2010 | Exterior Walls | 5% | Fiber-cement/brick/stucco façades with backing framing; envelope share reduced by stacking height.
B2020 | Exterior Windows | 2% | Repetitive window units for dwelling rooms and corridors, typical of mid-rise apartments.
B2050 | Exterior Doors | 1% | Main entries, service doors, and limited ground-level unit/amenity doors.
B3010 | Roofing | 1.7% | Single-ply membrane roofing with insulation and drainage on low-slope roofs.
B3060 | Roof Openings | 0.3% | Roof hatches, mechanical openings, and small skylights/vents.
C1010 | Interior Walls & Windows | 7.5% | High density of partitions between units, corridors, shafts, and common spaces in mid-rise buildings.
C1030 | Interior Doors | 3.5% | Unit entries, bedroom/bath doors, and doors to common and service spaces.
C1090 | Interior Specialties | 1.8% | Mailboxes, interior signage, accessories, and minor specialty items in common and service areas.
C2010 | Wall Finishes | 5% | Painted gypsum walls and durable finishes across units, corridors, and amenity spaces.
C2030 | Floor Finishes | 4.5% | Carpet/LVT in units and corridors; tile in entries, baths, and select amenity areas.
C2050 | Ceiling Finishes | 1.7% | Gypsum and ACT ceilings in units and corridors; some exposed structure at podium/support areas.
D1010 | Elevators & Lifts | 2.7% | Multiple passenger elevators and equipment, required for 3–6 story accessibility across the portfolio.
D2010 | Domestic Water Distribution | 3% | PEX/copper risers and branch piping supplying all units and common areas.
D2015 | Plumbing Fixtures | 3.6% | High count of kitchen and bath fixtures plus common laundry and restroom fixtures.
D2020 | Sanitary Waste & Vent Systems | 3% | Vertical stacks and branch DWV piping serving dense residential plumbing loads.
D3010 | Facility Fuel Systems | 1% | Gas/fuel piping serving unit furnaces, boilers, or water heaters where applicable.
D3020 | Heating Systems | 2.6% | Space-heating systems (in-unit furnaces, fan-coils, or heat pumps) across multiple floors.
D3030 | Cooling Systems | 2.7% | Split systems, heat pumps, or PTACs serving dwelling units and some common spaces.
D3041 | HVAC Air Distribution | 2.7% | Ducted air distribution to units, corridors, and common spaces; includes corridor ventilation.
D3042 | HVAC Hydronic & Steam Distribution | 1.5% | Hydronic loops where boilers/radiant or fan-coil systems are used in part of the portfolio.
D3050 | Terminal & Package Units | 2.5% | PTACs, fan-coils, or small air handlers providing zone-level conditioning.
D3080 | HVAC Controls & Instrumentation | 1.3% | Unit thermostats plus limited BAS/control integration at central equipment.
D3090 | Other HVAC Systems & Equipment | 1.2% | Bathroom/kitchen exhaust, garage-free podium ventilation, and miscellaneous HVAC components.
D4010 | Fire Suppression Systems | 3.1% | NFPA 13R in residential levels and NFPA 13 in podium/support levels; includes risers and standpipes where needed.
D5010 | Electrical Service & Switchgear | 2% | Main service, switchgear, and metering for multi-story residential loads.
D5020 | Electrical Distribution | 3.1% | Feeders, risers, and panels distributing power to units, corridors, and amenities.
D5030 | General Purpose Electrical Power | 2.4% | Receptacles and power for units, laundry, amenity, and support spaces.
D5040 | Lighting | 2.7% | LED lighting throughout units, corridors, stairwells, and site-adjacent building lighting.
D6010 | Communications Systems | 0.9% | CAT6/coax distribution, tel/data, and basic IT infrastructure for residents and common areas.
D7010 | Access Control & Intrusion Detection | 0.5% | Card access and intrusion at main entries, service spaces, and selected interior doors.
D7020 | Video Surveillance | 0.4% | Cameras at entries, lobbies, and key circulation points; no parking-structure surveillance included.
D7050 | Fire Detection & Alarm | 1.1% | Addressable fire alarm system, devices in corridors/common spaces, and integration with elevators and egress.
E1040 | Detention Equipment | 0% | Typically absent – not a detention-type facility.
E2010 | Fixed Furnishings | 2% | Built-in kitchen cabinets, bath vanities, closets, and casework in amenities/common areas.
F1050 | Swimming Pool Systems | 0% | Typically absent – any pools are separate site amenities, not part of the building systems.
Total |  | 100% | 41