## Barn
Uniformat | System | Percent of Total | Cost per S.F. | Cost | Floor Area (S.F.): | 4000
A1010 | Foundations | 8.3% | 6.225 | 24900 | Cost Per Square Foot: | 75
A2010 | Basement Walls | 0.5% | 0.375 | 1500 | Building Cost: | 300000
A4010 | Slab-on-Grade | 8.7% | 6.525 | 26100
B1010 | Floor Construction | 4% | 3 | 12000
B1020 | Roof Construction | 15% | 11.25 | 45000
B1080 | Stair Construction | 0.3% | 0.225 | 900
B2010 | Exterior Walls | 19% | 14.25 | 57000
B2020 | Exterior Windows | 1% | 0.75 | 3000
B2050 | Exterior Doors | 6.3% | 4.725 | 18900
B3010 | Roofing | 11.8% | 8.85 | 35400
B3060 | Roof Openings | 1.2% | 0.9 | 3600
C1010 | Interior Walls & Windows | 2.3% | 1.725 | 6900
C1030 | Interior Doors | 0.5% | 0.375 | 1500
C1090 | Interior Specialties | 0.4% | 0.3 | 1200
C2010 | Wall Finishes | 0.5% | 0.375 | 1500
C2030 | Floor Finishes | 0.6% | 0.45 | 1800
C2050 | Ceiling Finishes | 0.2% | 0.15 | 600
D1010 | Elevators & Lifts | 0% | 0 | 0
D2010 | Domestic Water Distribution | 0.8% | 0.6 | 2400
D2015 | Plumbing Fixtures | 0.7% | 0.525 | 2100
D2020 | Sanitary Waste & Vent Systems | 0.8% | 0.6 | 2400
D3010 | Facility Fuel Systems | 0.7% | 0.525 | 2100
D3020 | Heating Systems | 2.2% | 1.65 | 6600
D3030 | Cooling Systems | 0% | 0 | 0
D3041 | HVAC Air Distribution | 1.2% | 0.9 | 3600
D3042 | HVAC Hydronic & Steam Distribution | 0.3% | 0.225 | 900
D3050 | Terminal & Package Units | 1% | 0.75 | 3000
D3080 | HVAC Controls & Instrumentation | 0.3% | 0.225 | 900
D3090 | Other HVAC Systems & Equipment | 0.9% | 0.675 | 2700
D4010 | Fire Suppression Systems | 0% | 0 | 0
D5010 | Electrical Service & Switchgear | 1.8% | 1.35 | 5400
D5020 | Electrical Distribution | 2.2% | 1.65 | 6600
D5030 | General Purpose Electrical Power | 2.5% | 1.875 | 7500
D5040 | Lighting | 2.7% | 2.025 | 8100
D6010 | Communications Systems | 0.3% | 0.225 | 900
D7010 | Access Control & Intrusion Detection | 0% | 0 | 0
D7020 | Video Surveillance | 0% | 0 | 0
D7050 | Fire Detection & Alarm | 0% | 0 | 0
E1040 | Detention Equipment | 0% | 0 | 0
E2010 | Fixed Furnishings | 1% | 0.75 | 3000
F1050 | Swimming Pool Systems | 0% | 0 | 0
Total |  | 100% | 75 | 300000

## Notes
UniFormat Code | System Name | Percentage of Total | Notes
A1010 | Foundations | 8.3% | Spread footings, grade beams, and piers for PEMB and post-frame systems under moderate snow/wind loads.
A2010 | Basement Walls | 0.5% | Small allowance for occasional partial foundation walls or stem walls; most barns are not fully basemented.
A4010 | Slab-on-Grade | 8.7% | Mix of full slabs in workshop/utility barns and partial or no slabs in storage barns; includes thickened edges.
B1010 | Floor Construction | 4% | Limited framed floors for small mezzanines, lofts, or office/tack areas within the barn volume.
B1020 | Roof Construction | 15% | Primary long-span roof structure (purlins, trusses, rafters) carrying snow loads over large open bays.
B1080 | Stair Construction | 0.3% | Simple stairs and ladders to lofts or small mezzanines; minimal overall share.
B2010 | Exterior Walls | 19% | Metal wall panels or wood siding on girts/posts; major cost driver in simple barn shells.
B2020 | Exterior Windows | 1% | Limited windows for small office/tack rooms and occasional daylight panels.
B2050 | Exterior Doors | 6.3% | Large sliding/overhead equipment doors plus a few personnel doors; high impact on simple structures.
B3010 | Roofing | 11.8% | Metal roof panels, underlayment, and trim; includes snow-load detailing and long service-life coatings.
B3060 | Roof Openings | 1.2% | Ridge vents, cupolas, hatches, and penetrations for fans or flues.
C1010 | Interior Walls & Windows | 2.3% | Partitions around workshop, office, tack, or utility rooms in a subset of barns.
C1030 | Interior Doors | 0.5% | Doors to small enclosed rooms and storage spaces within the barn.
C1090 | Interior Specialties | 0.4% | Tack racks, basic shelving, corner guards, and minor specialty items in improved barns.
C2010 | Wall Finishes | 0.5% | Painted or sealed surfaces in workshops/offices; most barn interiors remain unfinished.
C2030 | Floor Finishes | 0.6% | Sealed or epoxy-coated floors in workshop bays; majority of area is concrete or gravel without finish.
C2050 | Ceiling Finishes | 0.2% | Limited finished ceilings in small conditioned rooms; main barn volume is open to structure.
D1010 | Elevators & Lifts | 0% | Typically absent – single-story barns do not require elevators.
D2010 | Domestic Water Distribution | 0.8% | Piping for hose bibs, wash-down areas, and small sinks in tack/workshop spaces.
D2015 | Plumbing Fixtures | 0.7% | Limited sinks, mop basins, and occasional toilets/showers in improved barns.
D2020 | Sanitary Waste & Vent Systems | 0.8% | Waste piping and vents where restrooms or wash-down drains are provided; absent in pure storage barns.
D3010 | Facility Fuel Systems | 0.7% | Gas or fuel piping to unit heaters or radiant tubes in workshop or equipment service bays.
D3020 | Heating Systems | 2.2% | Unit heaters, radiant tubes, or small furnaces serving conditioned bays; most barn area remains unheated.
D3030 | Cooling Systems | 0% | Typically absent – barns rely on natural ventilation; any small room cooling is negligible at portfolio scale.
D3041 | HVAC Air Distribution | 1.2% | Ductwork and fans for small conditioned rooms and localized ventilation; main volume is naturally ventilated.
D3042 | HVAC Hydronic & Steam Distribution | 0.3% | Occasional hydronic piping for radiant heat in select workshop floors; not common across all barns.
D3050 | Terminal & Package Units | 1% | Packaged unit heaters and similar terminal equipment in workshop/tack zones.
D3080 | HVAC Controls & Instrumentation | 0.3% | Simple thermostats and basic controls for localized heating equipment.
D3090 | Other HVAC Systems & Equipment | 0.9% | Circulation/ceiling fans, powered exhaust, and specialty ventilation used in some livestock or workshop barns.
D4010 | Fire Suppression Systems | 0% | Typically absent – barns are rarely sprinklered unless converted to higher-occupancy uses.
D5010 | Electrical Service & Switchgear | 1.8% | Small main service, meter, and distribution equipment (100–200A typical) for lighting and outlets.
D5020 | Electrical Distribution | 2.2% | Panelboards and branch circuits distributing power to lights, receptacles, and small equipment.
D5030 | General Purpose Electrical Power | 2.5% | Receptacles and power for tools, equipment, and miscellaneous barn loads.
D5040 | Lighting | 2.7% | LED high-bay or strip lighting providing basic illumination for equipment, hay, or livestock areas.
D6010 | Communications Systems | 0.3% | Limited phone/data or low-voltage runs for a small office or monitoring equipment in some barns.
D7010 | Access Control & Intrusion Detection | 0% | Typically absent – most barns rely on physical locks rather than electronic access control.
D7020 | Video Surveillance | 0% | Typically absent – only a few barns use CCTV; not typical for this building type.
D7050 | Fire Detection & Alarm | 0% | Typically absent – no building-wide fire alarm; occasional standalone detectors are not captured at system level.
E1040 | Detention Equipment | 0% | Typically absent – barns are not detention or secure holding facilities.
E2010 | Fixed Furnishings | 1% | Fixed workbenches, cabinetry, and storage built-ins in workshop or tack/utility spaces.
F1050 | Swimming Pool Systems | 0% | Typically absent – barns do not include natatorium or pool systems.
Total |  | 100% | 41